Operation and Maintenance Requirements

All Alternative Treatment Technology (ATT) onsite wastewater treatment systems   and  sand filter or pressure distribution onsite systems are required to be maintained on an annual basis, by a Department of Environmental Quality (DEQ) licensed and certified maintenance provider.

Maintenance Provider’s Responsibilities

Maintenance providers are required to submit an annual maintenance report to Lincoln County and pay the annual report evaluation fee on behalf of their customers.  Please do not come into our office to pay your fees. Again, the payment of the fee is the responsibility of your maintenance provider.  Please make your payment directly to your maintenance provider for the current fee.

Additionally, maintenance providers are required to:

- Observe and record conditions in the drainfield during all operation and maintenance activities for the system and report those observations to the system owner;

- Make necessary repairs or alterations that comply with Oregon Administrative Rules;

- Make emergency service available within 48 hours of a service request;

- Notify Lincoln County within 30 days of service agreement termination or expiration if the agreement is terminated or not renewed;

- Be certified by the ATT manufacturer to provide service on their product (ATT systems only).

- Submit the maintenance report through OnlineRME and pay the necessary fees on the owner’s behalf.

For DEQ Certified Maintenance Providers Serving Lincoln County please see:

https://www.oregon.gov/deq/FilterDocs/MaintProviders.pdf

DEQ Installer & Maintenance Provider Certification.

The Oregon Department of Environmental Quality (DEQ) has contracted with Chemeketa to provide classes to fulfill required training and certification of Onsite System Installers and Maintenance Providers.

Department of Planning &                  Development

210 S. W. 2nd St.

Newport, OR 97365

(541) 265- 4192

Fax (541) 265-6945

LConsite@co.lincoln.or.us

Property Owner’s Responsibilities

The owner of an ATT, sand filter, or pressure distribution system is responsible for paying for and maintaining a service agreement with a DEQ licensed and certified maintenance provider for the entire life of the system.

Initial service agreement: A minimum (2) year service agreement with a DEQ licensed and certified maintenance provider is required with all ATT, sand filter, and pressure distribution construction permit applications.

Tip: Keep Good Records!

Make sure your maintenance provider offers you a signed copy of the maintenance agreement and a copy of each inspection report.

Subsequent service agreements: After the initial service agreement, the property owner must have a valid, service agreement with a DEQ licensed and certified maintenance provider for the remaining life of the onsite system. These contracts can be ongoing or termed contracts.

Transfer of ownership: If property ownership changes hands, the new owner must sign a transfer of contract agreement with the maintenance provider or obtain a new service agreement.

Owners of these systems are also responsible for allowing timely maintenance, properly operating the system, and ensuring the system does not cause a public health hazard or polluting pu blic waters. This includes:

- Allowing maintenance providers safe access to the property;

- Following maintenance provider recommendations for proper usage;

- Permitting maintenance providers to make necessary repairs to the system and it’s components.

Oregon Administrative Rules

There are several Oregon Administrative Rules (OAR) regarding onsite wastewater treatment system operation and maintenance. The information provided in this handout references and is applicable to the following rules:

OAR 340-071-0130(13) Operation and maintenance OAR 340-071-0130(17) Annual permit fees and reports OAR 340-071-0130(23) Service Contracts

OAR 340-071-0130(24) Maintenance providers under contract OAR 340-071-0275(6) Pressure distribution service contracts OAR 340-071-0290(7) Sand filter operation and maintenance OAR

340-071-0345(12) ATT operation and maintenance standards OAR 340-071-0345(14) ATT service contracts

The complete Oregon Administrative Rules, Chapter 340, is available online from the DEQ: https://www.oregon.gov/deq/Residential/Pages/Onsite-Rules.aspx